## IEC62559-2
1 Description of the use case
1.1 Name of use case
Use case identification
| ID | COORDINET-GR-PUC1
| Area/ Domain(s)/ Zone(s) | Smart Grid / Distribution / Operation
| Name of use case | Load forecast in distribution network
1.2 Version management
| Version No. | 1.0
| Date | 2020-12-04
| Name of author(s) | Luis Viguer
| Changes | N/A
| Approval status | Approved
1.3 Scope and objectives of use case
| Scope | Based on historical records, current load measures and weather forecast, it will be provided the total load forecast (consumption models) at a substation, primary or secondary, located at Kefalonia and Attica regions.
| Objective(s) | Provide input data to DSO in order to assess voltage levels and power flows at distribution network
| Related business case(s) | BUC GR-1a: Voltage Control – Multi-Level Market Model BUC GR-1b: Voltage Control – Fragmented Market Model BUC GR-2a: Congestion Management – Multi-level Market Model BUC GR-2b: Congestion Management – Fragmented Market Model
1.4 Narrative of use case
| Short description | Placed within the abovementioned BUCs, PUC1 describes how the forecast provider extracts, transforms and loads (ETL) the data needed by the DSO to assess voltage levels and power flows. It is composed by four Secondary Use Cases (scenarios): 1. Get measurement form substation 2. Get meteo forecast 3. Generation of load forecast 4. KPI calculation for load forecast
It is not possible to add figures | Complete description | This PUC makes reference to the forecasting modules focused on the operation of the DSO and the distribution network. In order to increase the performance of these modules, data requests to external systems will be sent. Finally, the results of the algorithms will be available to external actors/applications. Type of considered forecasts: • Load Forecast: Forecast of total demand at a substation (primary or secondary). The time-granularity/horizon of the forecast can be: • Very short-term: 1h (5 or 15 min steps), • Short-term: 24-48 h (15min-1hour step), • Medium-term: 48h-10days (1-hour step) The PUC will deepen in the following steps that are necessary to forecast the total demand at a substation: 1. Forecast Provider retrieves current load from substation. 2. Forecast Provider asks for meteo forecast to Weather Forecast. 3. Forecast Provider corrects wrong/missing data, using an algorithm for anomalies detection. 4. Forecast Provider generates a mathematical model for load, using the historical data, and it applies the current load to the mathematical model, getting the load forecast. 5. Forecast Provider sends the forecasts to DSO. 6. DSO sends the forecasts to Coordinet platform (actors who need it for their activities). Besides, KPIs related to accuracy of prediction will be calculated in order to get the efficacy of the forecast done. Within the related business use cases, this primary use case, jointly with PUC2 (RES forecast in DN), focuses on the BUCs’ first step from DSO side: More precisely, PUC1 is divided into four secondary use cases also referred to as scenarios: • SUC 1.1 – Get measurement from substation: The Forecast Provider asks for current load to the Substation, which returns that measure. • SUC 1.2 – Get meteo forecast: The Forecast Provider asks for the weather prediction to the Weather Forecast Provider, an external server which does not belong to Coordinet ecosystem. The request contains the moment of time to be considered, such as prediction for 1 hour by or 24 hours by. The response contains the weather forecasting for that moment. • SUC1.3 – Generation of load forecast: After correcting wrong/missing data, the Forecast Provider generates a model of load for a period of time, using weather forecast and historical data related to load. Once this model is prepared, the Forecast Provider uses the current measurement to generate its prediction. • SUC1.4 – KPI calculation for load forecast: The KPIs are calculated in order to determine if the prediction is good enough. This calculation is done considering the load prediction and the real load.
1.5 Key performance indicators (KPI)
| ID | KPI_24 | KPI_25
| Name | Accuracy of load forecast calculated 1 hour in advance | Accuracy of load forecast calculated 24 hours in advance
| Description | This indicator measures the Mean Absolute Percentage Error (MAPE) of the load forecast in distribution system. | This indicator measures the Mean Absolute Percentage Error (MAPE) of the load forecast in distribution system.
| Reference to mentioned use case objectives | N/A | N/A
1.6 Use case conditions
| Assumptions | Privacy issues are not investigated at this stage. Some data exchanges might not be possible due to regulation restrictions. | Suitable methods of big data analysis, time series and machine learning can be used to produce accurate forecasts.
| Prerequisites | Availability of historical data. | Connectivity to external systems.
1.7 Further information to the use case for classification/mapping
| Relation to other use cases | PUC12
| Level of depth | Detailed use case
| Prioritisation | Mandatory
| Generic, regional or national relation | Generic
| Nature of the use case | Technical
| Further keywords for classification | Smart Grid, Distribution Network, DSO, demand/load forecast
1.8 General remarks
| General remarks | N/A
2 Diagrams of use case
- Resquested information not available in IEC 62559 standard - It is not possible to add figures | Diagram name
Diagram type
Diagram URI type
Diagram URI value
3 Technical details
Extra columns to be added | 3.1 Actors
| Grouping | N/A
| Group description | N/A
| Actor name | Forecast provider | DSO (Distribution System Operator) | Coordinet platform | Substation | Weather forecasting provider
| Actor type | Process | System operator | IT platform | Facility | Service
| Actor description | Process in charge of generating load forecasting. | System operator in charge of controlling local voltage and power flows in DN. | It receives the load forecast from DSO and shares it (at primary substation level) with the TSO. | Primary or secondary electrical substation where current load data is gathered. | External service which receives requests of weather prediction for a moment and returns it.
| Further information specific to this use case | N/A
3.2 References
Name
| No. | 1 | 3
| References type | Deliverable | Deliverable
| Reference | D1.5–Business Use Case definition | D1.6–List of KPIs: KPI and process of measures V1.0
| Status | Approved | Approved
| Impact on use case | Low | Low
| Originator/organisation | COORDINET | COORDINET
| Link | https://private.coordinet-project.eu/files/documentos/5d724207ca982Coordinet_Deliverable_1.5.pdf | https://private.coordinet-project.eu/files/documentos/5d724189a008fCoordiNet_Deliverable_1.6.pdf
4 Step by step analysis of use case | 4.1 Overview of scenarios
Scenario conditions
| No. | 1 | 2 | 3 | 4
| Scenario name | Get measurement from substation
| Scenario description | See complete description | See complete description | See complete description | See complete description
| Primary actor | Forecast provider | Forecast provider | Forecast provider | Forecast provider
| Triggering event | Start forecasting process | Start forecasting process |  | Moment of prediction is reached
| Pre-condition | Substation is connected to Distribution Network and Forecast provider can communicate with it | Weather Forecast provider is available and Forecast provider can communicate with it. | Forecast provider has the historical data of loads, the current load and the weather prediction. | Forecast provider has the load forecast for this moment.
| Postcondition | Forecast provider obtains the current load | Forecast provider has weather forecasting | Forecast provider has load forecast | The KPIs are calculated.
Extra columns to be added | 4.2 Steps – Scenarios
| Scenario name: | Get measurement from substation | Get measurement from substation | Get meteo forecast | Get meteo forecast | Generation of load forecast | Generation of load forecast | Generation of load forecast | Generation of load forecast | Generation of load forecast | Generation of load forecast
| Step No. | 1 | 1.1 | 2 | 2.1 | 3 | 3.1 | 4 | 4.1 | 5 | 6 | 4.2 | 4.3
| Event | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Name of process/activity | Request current load | Get measurement from substation | Request meteo prediction | Meteo prediction | Correction of data | Corrected data | Generate mathematical model for load | Generate load forecast | Load forecast | Load forecast | Load forecast | KPIs calculation
| Description of process/activity | The Forecast Provider asks current measurement to substation | The substations returns the current measurement | The Forecast Provider asks weather prediction to Weather Forecast Provider | The Weather Forecast Provider returns the weather prediction | The Forecast Provider removes and corrects wrong or missing data | The corrected data is used as source of information | The Forecast Provider generates a mathematical model for load, using historical data and weather prediction | The Forecast Provider uses the filtered substation measure (load) in its model for generating load prediction | The Forecast Provider sends the load prediction to the DSO | The DSO sends the prediction to Coordinet Platform | The Forecast Provider uses the forecasted load as input in KPIs calculation | The Forecast Provider calculates KPIs of load forecast accuracy
| Service | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| Information producer (actor) | Forecast Provider – Data collector | Substation | Forecast Provider – Data collector | Weather Forecast Provider | Forecast Provider – Data collector | Forecast Provider –Data collector | Forecast Provider –Forecast generator | Forecast Provider – Forecast generator | Forecast Provider – Forecast generator | DSO | Forecast Provider – Forecast generator | Forecast Provider - KPIs calculator
| Information receiver (actor) | Substation | Forecast Provider – Data collector | Weather Forecast Provider | Forecast Provider – Data collector | Forecast Provider –Data collector | Forecast Provider – Forecast generator | Forecast Provider–Forecast generator | Forecast Provider – Forecast generator | DSO | Coordinet Platform | Forecast Provider – KPIs calculator | Forecast Provider - KPIs calculator
| Information exchanged (IDs) | N/A | IE_1 | N/A | IE_2 | IE_1, IE_2 | IE_1, IE_2 | N/A | N/A | IE_3 | IE_3 | IE_3 | IE_4
| Reference to Scenario number | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
5 Information exchanged | Requirement, R-Ids |  |  | IE_1, IE_2 | IE_3
Cell A81 should be placed in A80 and Requirement, R-Ids should be placed at the bottom of this section | Information exchanged, ID | IE_1 | IE_2 | IE_3 | IE_4
| Name of information | Substation measure | Weather prediction | Load prediction | KPIs calculation
| Description of information exchanged | Current load at the substation [KVA] | Weather forecasting values: Temperature [oC], relative humidity [%], atmospheric pressure [mbar], cloud index [%], wind speed [m/s], wind direction[degrees], etc. | Load Forecast generated by the Forecast Provider [KVA] | Calculation of KPIs, done when the moment of the prediction is reached: [KPI_24] and [KPI_25]
From IEC 62559 standard it is missing chapters 6 (requirements), 7 (common terms and definitions) and 8 (custom information)
This template will be much easier to fill if it follows the same arrangement of rows/columns as the IEC 62559 standard

## Instructions
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.